## Load Profile
Load Profile MSB 1 - EMSB (8th May 2024)
Main Academic Building (9th Floor)
No | Department | Level | Load (Equipment ) | Light watt | Fan watt | Air Cond (Kw) | air handling unit | Operating Hours (On Peak)
1 | Classroom 4 , Office ,Meeting Room | 1 | Energy Saving Lights | 36 |  |  |  | 08.00-17.00
2 | Classroom 4 , lab physios 4, lab pharmacy 1 | 2 | Energy Saving Lights | 36 |  |  |  | 08.00-17.00
3 | Lab 4 | 3 | Energy Saving Lights | 36 |  |  |  | 08.00-17.00
4 | CSL clinical surgical lab | 3 | Air handling unit ,Energy Saving Lights | 36 |  | 11.1855 | 11.1855 | 08.00-17.00
5 | IT Lab | 4 | Energy Saving Lights , Air cond 2 unit | 36 |  | 11.1855 |  | 08.00-17.00
6 | Library & Relax area | 4 | Air Handling Unit , Energy Saving Lights ,cassette type air cond | 36 |  | 11.1855 | 11.1855 | 08.00-22.00
7 | Office & Admin | 5,6,7,8&9 | Energy Saving Lights | 36 |  |  |  | 08.00-17.00
8 | Dean office 2 Pharmacy | 9 | Energy Saving Lights | 36 |  |  |  | 08.00-17.00
9 | Dean office 2 Medic | 5 | Energy Saving Lights | 36 |  |  |  | 08.00-17.00
10 | Exam department | 7 | Energy Saving Lights | 36 |  |  |  | 08.00-17.00
11 | Cafeteria | GF | Energy Saving Lights 10w & Fan 65w | 10*20 | 65*6 |  |  | 08.00-17.00
12 | Corridor common place | 1 | Air Handling Unit, Energy Saving Lights | 36 |  |  | 11.1855 | 08.00-17.00
13 | Corridor common place | 2,3,4,5,6,7,8,9 | Fan coil ,Energy Saving Lights Air Cond 2 unit | 36 | 65 | 11.1855 |  | 08.00-17.00
14 | Control Room | GF | ?
15 | Driver room | GF | ?
Hostel Building A & B |  |  |  | Light watt | Fan watt
No | Department | Level | Load (Equipment )
1 | Block A-Female Hostel (210rooms) | 4,5,6,7,8,9&10 | Ceiling Fan ,conventional l Flour Lights | 36 | 65 |  |  | 07.00-07.00 | 20% lights from MSB 1
2 | Car Park | 1,2&3 | Conventional Flour Lights | 36 | 65 |  |  | 18.00-07.00 | 20% lights from MSB 1
3 | Block B-male Hostel (210 rooms) | 4,5,6,7,8,9&10 | Ceiling Fan ,Conventional Flour Lights | 36 | 65 |  |  | 07.00-07.00 | 20% lights from MSB 1
4 | Car Park | 1,2&3 | Conventional Flour Lights | 36 | 65 |  |  | 18.00-07.00 | 20% lights from MSB 1
5 | Laundry | 1 | NA | 36
6 | Mini mart | 1 | NA
Main Facilities Equipment (Level 1) & Car park
No | Equipment | Full Load (KW) | Quantity | Operating | time | Operating Hours (On Peak)
1 | Chilled Water Pump (CHWP) | 45 | 3unit | 2 unit | 9 | 08.00-17.00 | 405 | 2200.5
2 | Condenser Pump (CWP) | 30 | 3unit | 2 unit | 9 | 08.00-17.00 | 270
3 | Chiller | 168 | 3unit | 2 unit | 9 | 08.00-17.00 | 1512
4 | Cooling Tower 2 unit | 1.5 | 4 unit motor 2 set cooling tower | 4 unit | 9 | 08.00-17.00 | 13.5
5 | 5Hp Hose Reel Pump | 3.75 | Standby | Standby |  |  | 0.75
6 | 60Hp Wet Rise Pump | 45 | Standby | Standby |  |  | 0.75
7 | 50Hp Sprinkler Pump | 37.5 | Standby | Standby |  |  | 0.75
8 | 2Hp Booster Pump (Male Hostel) | 1.5 | 2unit | 1unit | 24 | 24hr | 36 | 169.68
9 | 3Hp Booster Pump (Male Hostel) | 2.25 | 2unit | 1unit | 24 | 24hr | 54
10 | 5Hp Booster Pump (Academic build) | 3.32 | 2unit | 1unit | 24 | 24hr | 79.68

## Sheet1
LEVEL 1 | No | Space | Power (KW) | TYPE
| 1 | Passageway 1 | 3.73 | AHU
Passageway 2
Passageway 3
Passageway 4
Passageway 5
Waiting Area 7
| 2 | PHARMACY | 0.57 | FCU
| 3 | CLINIC (SCREENING 1) | 0.55 | FCU
CLINIC (SCREENING 1)
Waiting Area 1
| 4 | ClINIC (OPTOMETRY 1) | 1.47 | FCU
ClINIC (OPTOMETRY 2)
ClINIC (OPTOMETRY 3)
ClINIC (OPTOMETRY 4)
ClINIC (OPTOMETRY 5)
Waiting Area 2
| 5 | CLINIC (WELLNESS-GENERAL 1 | 0.15 | FCU
CLINIC (WELLNESS-GENERAL 2
Waiting Area 4
| 6 | CLINIC (MULDICIPLINARY MEDICAL 1 | 0.9 | FCU
CLINIC (MULDICIPLINARY MEDICAL 2
CLINIC (MULDICIPLINARY MEDICAL 3
RECEPTIONIST
Waiting Area 3
REFRESHMENT AREA (STUDENT)
REFRESHMENT AREA (PATIENT)
| 7 | CLINIC (MULDICIPLINARY SURGICAL 1) | 0.14 | FCU
CLINIC (MULDICIPLINARY SURGICAL 2)
CLINIC (MULDICIPLINARY SURGICAL 3)
| 8 | DAY CARE BEDS | 0.15 | FCU
| 9 | MAIN CONTROL ROOM | 0.127 | CC
| 10 | MAIN CONTROL ROOM (NIGHT TIME) | 1.29 | AFCU
| 11 | STAFF OFFICE (DOCTOR) | 0.14 | FCU
| 12 | REFRESHMENT AREA (DOCTOR & NURSE) | 0.57 | FCU
| 13 | STAFF OFFICE (NURSE) | 0.14 | FCU
| 14 | PABX ROOM | 0.51 | CC
| 15 | TELCO ROOM | 0.51 | CC
| 16 | WELLNESS/COUNSELING | 0.14 | FCU
| 17 | GENERAL X-RAY | 0.82 | FCU
VIEWING ROOM
ECG /ECHO
ULTRASOUND ROOM
WAITING AREA 5
PASSAGEWAY X-RAY
| 18 | CONTROL ROOM | 0.151 | CC
| 19 | DIAGNOSTIC ROOM | 0.12 | FCU
| 20 | LIFT LOBBY 1 | 0.14 | FCU
| 21 | ENTRANCE FOYER | 0.14 | FCU
| 22 | ENTRANCE FOYER
| 23 | ENTRANCE FOYER
| 24 | REGISTRATION | 0.12 | FCU
| 25 | GYM/ELECTRO-TERAPHY | 0.14 | FCU
| 26 | PHYSIOTERAPHY | 0.14 | FCU
| 27 | CSSD ROOM | 0.75 | FCU
| 28 | PRAYER ROOM MALE | 0.127 | CC
| 29 | PRAYER ROOM FEMALE | 0.127 | CC
| 30 | RECEIVING OFFICE | 0.51 | CC
| 31 | TREATMENT ROOM 1 | 0.127 | CC
| 32 | TREATMENT ROOM 2 | 0.127 | CC
| 33 | TREATMENT ROOM 3 | 0.51 | CC
| 34 | TUTORIAL 1 | 0.51 | CC
| 35 | TUTORIAL 2 | 0.51 | CC
| 36 | TUTORIAL 3 | 0.51 | CC
LEVEL 2 | 1 | PASSAGEWAY | 3.73 | AHU
PASSAGEWAY
STUDENT WAITING AREA
| 2 | LIBRARY | 0.14 | FCU
| 3 | PHISIOTERAPHY LABORATARY 1 | 2.2 | FCU
| 4 | PHISIOTERAPHY LABORATARY 2 | 2.2 | FCU
| 5 | PHISIOTERAPHY LABORATARY 3 | 1.43 | FCU
| 6 | PHARMACY LABORATARY 1 | 1.47 | FCU
| 7 | PHARMACY LABORATARY 2 | 2.2 | FCU
| 8 | PHARMACY LABORATARY 3 | 1.83 | FCU
| 9 | PHARMACY LABORATARY 4 | 1.83 | FCU
| 10 | LIFT LOBBY 1 | 0.14 | FCU
| 11 | PREPARATION 1 | 0.14 | FCU
| 12 | PREPARATION 2 | 0.14 | FCU
| 13 | PREPARATION 3 | 0.14 | FCU
LEVEL 3 | 1 | PASSAGEWAY | 7.46 | AHU
| 2 | WAITING AREA
| 3 | PASSAGEWAY
| 4 | WAITING AREA
| 5 | CLINICAL SKILL LABORATORY | 7.46 | FCU
| 6 | LECTURE ROOM 1 | 1.43 | FCU
| 7 | LECTURE ROOM 2 | 1.43 | FCU
| 8 | LECTURE ROOM 3 | 0.9 | FCU
| 9 | LECTURE ROOM 4 | 1.83 | FCU
| 10 | LECTURE ROOM 5 | 1.83 | FCU
| 11 | LECTURE ROOM 10 | 0.16 | FCU
| 12 | LECTURE ROOM 5 | 1.43 | FCU
| 13 | LECTURE ROOM 6 | 1.43 | FCU
| 14 | LECTURE ROOM 7 | 0.82 | FCU
| 15 | LECTURE ROOM 8 | 0.82 | FCU
| 16 | LECTURE ROOM 9 | 0.82 | FCU
| 17 | LIFT LOBBY 1 | 0.14 | FCU
| 18 | LAB PREPARATION ROOM | 0.14 | FCU
LEVEL 4 | 1 | PASSAGEWAY | 3.73 | AHU
| 2 | LIBRARY | 7.46 | AHU
| 3 | LIBRARY
| 4 | IT LABORATORY 1 | 0.9 | FCU
| 5 | IT LABORATORY 2 | 0.82 | FCU
| 6 | IT LABORATORY 3 | 0.82 | FCU
| 7 | MULTIMEDIA LABORATORY | 2.2 | FCU
| 8 | OFFICE 2 | 0.14 | FCU
| 9 | MEETING ROOM | 0.127 | CC
| 10 | LIBRARIAN 1 | 0.51 | CC
| 11 | LIBRARIAN 2 | 0.51 | CC
| 12 | LIFT LOBBY 1 | 0.14 | FCU
| 13 | OFFICE 1 | 0.9 | FCU
| 14 | DISCUSSION ROOM 1 | 0.75 | CC
| 15 | DISCUSSION ROOM 1 | 0.75 | CC
| 16 | DISCUSSION ROOM 1 | 0.75 | CC
| 17 | SERVER ROOM | 0.164 | CC
| 18 | SERVER ROOM | 2.44 | AFCU
LEVEL 5 | 1 | MEETING ROOM | 0.9 | FCU
| 2 | OFFICE | 0.9 | FCU
| 3 | PANTRY
| 4 | PRINTING ROOM
| 5 | STRONG ROOM
| 6 | OFFICE LOBBY | 0.14 | FCU
| 7 | GUEST RESTROOM | 0.15 | FCU
| 8 | PROFESSOR ROOM | 0.127 | CC
| 9 | LIFT LOBBY 1 | 0.14 | FCU
| 10 | OFFICE LOBBY 1 | 0.9 | FCU
| 11 | PRAYER ROOM MALE
| 12 | PRAYER ROOM FEMALE
| 13 | DISCUSSION ROOM 1 | 0.75 | CC
| 14 | DISCUSSION ROOM 2 | 0.75 | CC
| 15 | DISCUSSION ROOM 3 | 0.75 | CC
| 16 | LIBRARY /READING | 0.57 | FCU
| 17 | TUTOR /INSTRUCTOR 1 | 0.75 | CC
| 18 | TUTOR /INSTRUCTOR 2 | 0.75 | CC
| 19 | TUTOR /INSTRUCTOR 3 | 0.127 | CC
| 20 | TUTOR /INSTRUCTOR 4 | 0.127 | CC
| 21 | TUTOR /INSTRUCTOR 5 | 0.75 | CC
| 22 | LECTURER 15 | 0.75 | CC
| 23 | ASSOC.PROFESSOR 1 | 0.127 | CC
| 24 | ASSOC.PROFESSOR 2 | 0.127 | CC
| 25 | SENIOR LECTURER 1 | 0.75 | CC
| 26 | SENIOR LECTURER 2 | 0.75 | CC
| 27 | SENIOR LECTURER 3 | 0.75 | CC
| 28 | SENIOR LECTURER 4 | 0.75 | CC
| 29 | SENIOR LECTURER 5 | 0.75 | CC
| 30 | SENIOR LECTURER 6 | 0.75 | CC
| 31 | SENIOR LECTURER 7 | 0.75 | CC
| 32 | DISCUSSION ROOM 4 | 0.127 | CC
| 33 | LECTURER 3 | 0.51 | CC
| 34 | LECTURER 4 | 0.51 | CC
| 35 | LECTURER 5 | 0.51 | CC
| 36 | LECTURER 6 | 0.51 | CC
| 37 | LECTURER 7 | 0.51 | CC
| 38 | LECTURER 8 | 0.51 | CC
| 39 | LECTURER 9 | 0.51 | CC
| 40 | LECTURER 10 | 0.51 | CC
| 41 | LECTURER 11 | 0.51 | CC
| 42 | LECTURER 12 | 0.51 | CC
| 43 | LECTURER 13 | 0.51 | CC
| 44 | LECTURER 14 | 0.51 | CC
| 45 | PASSAGEWAY OFFICE | 0.9 | FCU
| 46 | PASSAGEWAY OFFICE
| 47 | PASSAGEWAY OFFICE
LEVEL 6 | 1 | MEETING ROOM | 0.9 | FCU
| 2 | OFFICE AREA 2 | 0.14 | FCU
| 3 | OFFICE LOBBY | 0.07 | FCU
| 4 | OFFICE LOBBY | 0.14 | FCU
| 5 | LIFT LOBBY 1 | 0.14 | FCU
| 6 | DISCUSSION ROOM | 0.16 | FCU
| 7 | STORE
| 8 | MEETING ROOM 2 | 0.15 | FCU
| 9 | ASSOC.PROFESSOR | 0.127 | CC
| 10 | LECTURER 8 | 0.75 | CC
| 11 | LECTURER 7 | 0.75 | CC
| 12 | LECTURER 6 | 0.75 | CC
| 13 | LECTURER 5 | 0.75 | CC
| 14 | LECTURER 4 | 0.75 | CC
| 15 | LECTURER 3 | 0.75 | CC
| 16 | LECTURER 2 | 0.75 | CC
| 17 | LECTURER 1 | 0.75 | CC
| 18 | LECTURER 9 | 0.51 | CC
| 19 | LECTURER 10 | 0.51 | CC
| 20 | LECTURER 11 | 0.51 | CC
| 21 | LECTURER 12 | 0.51 | CC
| 22 | TUTOR / INSTRUCTOR 1 | 0.51 | CC
| 23 | TUTOR / INSTRUCTOR 2 | 0.51 | CC
| 24 | TUTOR / INSTRUCTOR 3 | 0.51 | CC
| 25 | LECTURER 19 | 0.51 | CC
| 26 | LECTURER 20 | 0.51 | CC
| 27 | DISCUSSION ROOM 2 | 0.75 | CC
| 28 | LECTURER 18 | 0.75 | CC
| 29 | LECTURER 16 | 0.75 | CC
| 30 | LECTURER 14 | 0.75 | CC
| 31 | LECTURER 13 | 0.75 | CC
| 32 | LECTURER 15 | 0.75 | CC
| 33 | LECTURER 17 | 0.75 | CC
| 34 | SENIOR LECTURER 1 | 0.75 | CC
| 35 | SENIOR LECTURER 2 | 0.75 | CC
| 36 | SENIOR LECTURER 3 | 0.75 | CC
| 37 | PASSAGEWAY OFFICE | 0.15 | FCU
| 38 | PASSAGEWAY OFFICE
| 39 | PASSAGEWAY OFFICE
| 40 | PASSAGEWAY OFFICE
| 41 | PRAYER ROOM MALE | 1.47 | FCU
| 42 | PRAYER ROOM FEMALE | 1.47 | FCU
LEVEL 7 | 1 | MEETING ROOM | 0.9 | FCU
| 2 | OFFICE AREA 2 | 0.14 | FCU
| 3 | OFFICE LOBBY | 0.07 | FCU
| 4 | OFFICE AREA 1 | 0.14 | FCU
| 5 | LIFT LOBBY 1 | 0.14 | FCU
| 6 | DISCUSSION ROOM | 0.16 | FCU
| 7 | STORE
| 8 | MEETING ROOM 2 | 0.15 | FCU
| 9 | ASSOC PROFESSOR | 0.127 | CC
| 10 | LECTURER 8 | 0.75 | CC
| 11 | LECTURER 7 | 0.75 | CC
| 12 | LECTURER 6 | 0.75 | CC
| 13 | LECTURER 5 | 0.75 | CC
| 14 | LECTURER 4 | 0.75 | CC
| 15 | LECTURER 3 | 0.75 | CC
| 16 | LECTURER 2 | 0.75 | CC
| 17 | LECTURER 1 | 0.75 | CC
| 18 | LECTURER 9 | 0.51 | CC
| 19 | LECTURER 10 | 0.51 | CC
| 20 | LECTURER 11 | 0.51 | CC
| 21 | LECTURER 12 | 0.51 | CC
| 22 | TUTOR /INSTRUCTOR 1 | 0.51 | CC
| 23 | TUTOR /INSTRUCTOR 2 | 0.51 | CC
| 24 | TUTOR /INSTRUCTOR 3 | 0.51 | CC
| 25 | LECTURER 19 | 0.51 | CC
| 26 | LECTURER 20 | 0.51 | CC
| 27 | DISCUSSION ROOM | 0.75 | CC
| 28 | LECTURER 18 | 0.75 | CC
| 29 | LECTURER 16 | 0.75 | CC
| 30 | LECTURER 14 | 0.75 | CC
| 31 | LECTURER 13 | 0.75 | CC
| 32 | LECTURER 15 | 0.75 | CC
| 33 | LECTURER 17 | 0.75 | CC
| 34 | SENIOR LECTURER 1 | 0.75 | CC
| 35 | SENIOR LECTURER 2 | 0.75 | CC
| 36 | SENIOR LECTURER 3 | 0.75 | CC
| 37 | PASSAGEWAY OFFICE | 0.15 | FCU
| 38 | PASSAGEWAY OFFICE | 1.43 | FCU
| 39 | PASSAGEWAY OFFICE | 0.82 | FCU
| 40 | PASSAGEWAY OFFICE | 0.12 | FCU
| 41 | PRAYER ROOM MALE | 1.47 | FCU
| 42 | PRAYER ROOM FEMALE
LEVEL 8 | 1 | MEETING ROOM | 0.9 | FCU
| 2 | OFFICE AREA 2 | 0.14 | FCU
| 3 | OFFICE LOBBY | 0.07 | FCU
| 4 | OFFICE AREA 1 | 0.14 | FCU
| 5 | LIFT LOBBY 1 | 0.14 | FCU
| 6 | DISCUSSION ROOM | 0.16 | FCU
| 7 | STORE | 0.16 | FCU
| 8 | MEETING ROOM 2 | 0.15 | FCU
| 9 | ASSOC PROFESSOR | 0.12 | CC
| 10 | LECTURER 1 | 0.75 | CC
| 11 | LECTURER 2 | 0.75 | CC
| 12 | LECTURER 3 | 0.75 | CC
| 13 | LECTURER 4 | 0.75 | CC
| 14 | LECTURER 5 | 0.75 | CC
| 15 | LECTURER 6 | 0.75 | CC
| 16 | LECTURER 7 | 0.75 | CC
| 17 | LECTURER 8 | 0.75 | CC
| 18 | LECTURER 9 | 0.51 | CC
| 19 | LECTURER 10 | 0.51 | CC
| 20 | LECTURER 11 | 0.51 | CC
| 21 | LECTURER 12 | 0.51 | CC
| 22 | TUTOR / INSTRUCTOR 1 | 0.51 | CC
| 23 | TUTOR / INSTRUCTOR 2 | 0.51 | CC
| 24 | TUTOR / INSTRUCTOR 3 | 0.51 | CC
| 25 | LECTURER 19 | 0.51 | CC
| 26 | LECTURER 20 | 0.51 | CC
| 27 | DISCUSSION ROOM 2 | 0.75 | CC
| 28 | LECTURER 13 | 0.75 | CC
| 29 | LECTURER 14 | 0.75 | CC
| 30 | LECTURER 15 | 0.75 | CC
| 31 | LECTURER 16 | 0.75 | CC
| 32 | LECTURER 17 | 0.75 | CC
| 33 | LECTURER 18 | 0.75 | CC
| 34 | SENIOR LECTURER 1 | 0.75 | CC
| 35 | SENIOR LECTURER 2 | 0.75 | CC
| 36 | SENIOR LECTURER 3 | 0.75 | CC
| 37 | PASSAGEWAY OFFICE | 0.15 | FCU
| 38 | PASSAGEWAY OFFICE | 1.43 | FCU
| 39 | PASSAGEWAY OFFICE | 0.82 | FCU
| 40 | PASSAGEWAY OFFICE | 0.12 | FCU
| 41 | PRAYER ROOM MALE | 1.47 | FCU
| 42 | PRAYER ROOM FEMALE
LEVEL 9 | 1 | MEETING ROOM | 0.9 | FCU
| 2 | OFFICE AREA 2 | 0.16 | FCU
| 3 | OFFICE LOBBY | 0.12 | FCU
| 4 | OFFICE AREA 1 | 0.16 | FCU
| 5 | LIFT LOBBY 1 | 0.15 | FCU
| 6 | DISCUSSION ROOM 1 | 0.9 | FCU
| 7 | STORE
| 8 | MEETING ROOM 2 | 0.55 | FCU
| 9 | ASSOC PROFESSOR | 0.127 | CC
| 10 | LECTURER 1 | 0.75 | CC
| 11 | LECTURER 2 | 0.75 | CC
| 12 | LECTURER 3 | 0.75 | CC
| 13 | LECTURER 4 | 0.75 | CC
| 14 | LECTURER 5 | 0.75 | CC
| 15 | LECTURER 6 | 0.75 | CC
| 16 | LECTURER 7 | 0.75 | CC
| 17 | LECTURER 8 | 0.75 | CC
| 18 | LECTURER 9 | 0.75 | CC
| 19 | LECTURER 10 | 0.75 | CC
| 20 | LECTURER 11 | 0.75 | CC
| 21 | LECTURER 12 | 0.75 | CC
| 22 | TUTOR / INSTRUCTOR 1 | 0.75 | CC
| 23 | TUTOR / INSTRUCTOR 2 | 0.75 | CC
| 24 | TUTOR / INSTRUCTOR 3 | 0.51 | CC
| 25 | LECTURER 20 | 0.51 | CC
| 26 | LECTURER 19 | 0.51 | CC
| 27 | DISCUSSION ROOM 2 | 0.75 | CC
| 28 | LECTURER 18 | 0.75 | CC
| 29 | LECTURER 16 | 0.75 | CC
| 30 | LECTURER 14 | 0.75 | CC
| 31 | SENIOR LECTURER 3 | 0.127 | CC
| 32 | LECTURER 13 | 0.75 | CC
| 33 | LECTURER 15 | 0.75 | CC
| 34 | LECTURER 17 | 0.75 | CC
| 35 | PASSAGEWAY OFFICE | 0.15 | FCU
| 36 | PASSAGEWAY OFFICE | 1.43 | FCU
| 37 | PASSAGEWAY OFFICE | 0.82 | FCU
| 38 | PRAYERS ROOM MALE | 1.43 | FCU
| 39 | PRAYERS ROOM MALE
|  | AHU | AIR HANDLING UNIT
|  | FCU | FAN COIL UNIT
|  | CC | CEILING CASSETTE

## buidling
Buidling | Department | total Kw
Main Academic Building | level1 | 355.149
Main Academic Building | level2 | 161.55
Main Academic Building | level3 | 254.844
Main Academic Building | level4 | 208.971 | Summary
Main Academic Building | level5 | 199.458
Main Academic Building | level6 | 208.035 | Buidling | total Kw
Main Academic Building | level7 | 216.459 | Main Academic Building | 2046.222
Main Academic Building | level8 | 218.16 | Hostel Building | 43.026
Main Academic Building | level9 | 220.356 | Main Facilities Equipment and Car park | 3405.18
Main Academic Building | level10 | 3.24
Hostel Building A | level1 | 1.515
Hostel Building A | level2 | 1.515
Hostel Building A | level3 | 1.515
Hostel Building A | level4 | 2.424
Hostel Building A | level5 | 2.424
Hostel Building A | level6 | 2.424 | No | Equipment | Full Load (KW) | Quantity | Operating | time | Total kwh | Operating Hours (On Peak)
Hostel Building A | level7 | 2.424 | 1 | Chilled Water Pump (CHWP) | 45 | 3unit | 2 | 9 | 810 | 08.00-17.00
Hostel Building A | level8 | 2.424 | 2 | Condenser Pump (CWP) | 30 | 3unit | 2 | 9 | 540 | 08.00-17.00
Hostel Building A | level9 | 2.424 | 3 | Chiller | 168 | 3unit | 2 | 9 | 3024 | 08.00-17.00
Hostel Building A | level10 | 2.424 | 4 | Cooling Tower 2 unit | 1.5 | 4 unit motor 2 set cooling tower | 4 | 9 | 54 | 08.00-17.00
Hostel Building B | levle1 | 1.515 | 5 | 5Hp Hose Reel Pump | 3.75 | Standby | Standby | 0 | 0
Hostel Building B | levle2 | 1.515 | 6 | 60Hp Wet Rise Pump | 45 | Standby | Standby | 0 | 0
Hostel Building B | levle3 | 1.515 | 7 | 50Hp Sprinkler Pump | 37.5 | Standby | Standby | 0 | 0
Hostel Building B | levle4 | 2.424 | 8 | 2Hp Booster Pump (Male Hostel) | 1.5 | 2unit | 1 | 24 | 36 | 24hr
Hostel Building B | levle5 | 2.424 | 9 | 3Hp Booster Pump (Male Hostel) | 2.25 | 2unit | 1 | 24 | 54 | 24hr
Hostel Building B | levle6 | 2.424 | 10 | 5Hp Booster Pump (Academic build) | 3.32 | 2unit | 1 | 24 | 79.68 | 24hr
Hostel Building B | levle7 | 2.424 | [5 empty] | Total Kwh | 4597.68
Hostel Building B | levle8 | 2.424
Hostel Building B | levle9 | 2.424
Hostel Building B | levle10 | 2.424
Main Facilities Equipment and Car park | Main Facilities Equipment and Car park | 2200.5
Main Facilities Equipment and Car park | Main Facilities Equipment and Car park | 1035
Main Facilities Equipment and Car park | Main Facilities Equipment and Car park | 169.68

## level1
No | Space | Power (KW) | working time | Total | Total
1 | Passageway 1 | 3.73 | 9 | 33.57 | 355.149
Passageway 2
Passageway 3
Passageway 4
Passageway 5
Waiting Area 7
2 | PHARMACY | 0.57 | 9 | 5.13
3 | CLINIC (SCREENING 1) | 0.55 | 9 | 4.95
CLINIC (SCREENING 1)
Waiting Area 1
4 | ClINIC (OPTOMETRY 1) | 1.47 | 9 | 13.23
ClINIC (OPTOMETRY 2)
ClINIC (OPTOMETRY 3)
ClINIC (OPTOMETRY 4)
ClINIC (OPTOMETRY 5)
Waiting Area 2
5 | CLINIC (WELLNESS-GENERAL 1 | 0.15 | 9 | 1.35
CLINIC (WELLNESS-GENERAL 2
Waiting Area 4
6 | CLINIC (MULDICIPLINARY MEDICAL 1 | 0.9 | 9 | 8.1
CLINIC (MULDICIPLINARY MEDICAL 2
CLINIC (MULDICIPLINARY MEDICAL 3
RECEPTIONIST
Waiting Area 3
REFRESHMENT AREA (STUDENT)
REFRESHMENT AREA (PATIENT)
7 | CLINIC (MULDICIPLINARY SURGICAL 1) | 0.14 | 9 | 1.26
CLINIC (MULDICIPLINARY SURGICAL 2)
CLINIC (MULDICIPLINARY SURGICAL 3)
8 | DAY CARE BEDS | 0.15 | 9 | 1.35
9 | MAIN CONTROL ROOM | 0.127 | 9 | 1.143
10 | MAIN CONTROL ROOM (NIGHT TIME) | 1.29 | 9 | 11.61
11 | STAFF OFFICE (DOCTOR) | 0.14 | 9 | 1.26
12 | REFRESHMENT AREA (DOCTOR & NURSE) | 0.57 | 9 | 5.13
13 | STAFF OFFICE (NURSE) | 0.14 | 9 | 1.26
14 | PABX ROOM | 0.51 | 9 | 4.59
15 | TELCO ROOM | 0.51 | 9 | 4.59
16 | WELLNESS/COUNSELING | 0.14 | 9 | 1.26
17 | GENERAL X-RAY | 0.82 | 9 | 7.38
VIEWING ROOM
ECG /ECHO
ULTRASOUND ROOM
WAITING AREA 5
PASSAGEWAY X-RAY
18 | CONTROL ROOM | 0.151 | 9 | 1.359
19 | DIAGNOSTIC ROOM | 0.12 | 9 | 1.08
20 | LIFT LOBBY 1 | 0.14 | 9 | 1.26
21 | ENTRANCE FOYER | 0.14 | 9 | 1.26
22 | ENTRANCE FOYER
23 | ENTRANCE FOYER
24 | REGISTRATION | 0.12 | 9 | 1.08
25 | GYM/ELECTRO-TERAPHY | 0.14 | 9 | 1.26
26 | PHYSIOTERAPHY | 0.14 | 9 | 1.26
27 | CSSD ROOM | 0.75 | 9 | 6.75
28 | PRAYER ROOM MALE | 0.127 | 9 | 1.143
29 | PRAYER ROOM FEMALE | 0.127 | 9 | 1.143
30 | RECEIVING OFFICE | 0.51 | 9 | 4.59
31 | TREATMENT ROOM 1 | 0.127 | 9 | 1.143
32 | TREATMENT ROOM 2 | 0.127 | 9 | 1.143
33 | TREATMENT ROOM 3 | 0.51 | 9 | 4.59
34 | TUTORIAL 1 | 0.51 | 9 | 4.59
35 | TUTORIAL 2 | 0.51 | 9 | 4.59
36 | TUTORIAL 3 | 0.51 | 9 | 4.59
37 | Classroom1 | 0.036 | 9 | 0.324
37 | Classroom2 | 0.036 | 9 | 0.324
37 | Classroom3 | 0.036 | 9 | 0.324
37 | Classroom4 | 0.036 | 9 | 0.324
38 | Office | 0.072 | 9 | 0.648
39 | Meeting Room | 0.072 | 9 | 0.648
40 | Corridor common place | 22.507 | 9 | 202.563

## level2
No | Space | Power (KW) | Op time | Total | total
1 | PASSAGEWAY | 3.73 | 9 | 33.57 | 161.55
PASSAGEWAY
STUDENT WAITING AREA
2 | LIBRARY | 0.14 | 9 | 1.26
3 | PHISIOTERAPHY LABORATARY 1 | 2.2 | 9 | 19.8
4 | PHISIOTERAPHY LABORATARY 2 | 2.2 | 9 | 19.8
5 | PHISIOTERAPHY LABORATARY 3 | 1.43 | 9 | 12.87
6 | PHARMACY LABORATARY 1 | 1.47 | 9 | 13.23
7 | PHARMACY LABORATARY 2 | 2.2 | 9 | 19.8
8 | PHARMACY LABORATARY 3 | 1.83 | 9 | 16.47
9 | PHARMACY LABORATARY 4 | 1.83 | 9 | 16.47
10 | LIFT LOBBY 1 | 0.14 | 9 | 1.26
11 | PREPARATION 1 | 0.14 | 9 | 1.26
12 | PREPARATION 2 | 0.14 | 9 | 1.26
13 | PREPARATION 3 | 0.14 | 9 | 1.26
14 | Classroom1 | 0.036 | 9 | 0.324
15 | Classroom2 | 0.036 | 9 | 0.324
16 | Classroom3 | 0.036 | 9 | 0.324
17 | Classroom4 | 0.036 | 9 | 0.324
18 | lab physios1 | 0.036 | 9 | 0.324
19 | lab physios2 | 0.036 | 9 | 0.324
20 | lab physios3 | 0.036 | 9 | 0.324
21 | lab physios4 | 0.036 | 9 | 0.324
22 | lab pharmacy | 0.036 | 9 | 0.324
23 | Corridor common place | 0.036 | 9 | 0.324

## level3
No | Space | Power (KW) | Op time | Power | Total
1 | PASSAGEWAY | 7.46 | 9 | 67.14 | 254.844
2 | WAITING AREA
3 | PASSAGEWAY
4 | WAITING AREA
5 | CLINICAL SKILL LABORATORY | 7.46 | 9 | 67.14
6 | LECTURE ROOM 1 | 1.43 | 9 | 12.87
7 | LECTURE ROOM 2 | 1.43 | 9 | 12.87
8 | LECTURE ROOM 3 | 0.9 | 9 | 8.1
9 | LECTURE ROOM 4 | 1.83 | 9 | 16.47
10 | LECTURE ROOM 5 | 1.83 | 9 | 16.47
11 | LECTURE ROOM 10 | 0.16 | 9 | 1.44
12 | LECTURE ROOM 5 | 1.43 | 9 | 12.87
13 | LECTURE ROOM 6 | 1.43 | 9 | 12.87
14 | LECTURE ROOM 7 | 0.82 | 9 | 7.38
15 | LECTURE ROOM 8 | 0.82 | 9 | 7.38
16 | LECTURE ROOM 9 | 0.82 | 9 | 7.38
17 | LIFT LOBBY 1 | 0.14 | 9 | 1.26
18 | LAB PREPARATION ROOM | 0.14 | 9 | 1.26
19 | Lab1 | 0.036 | 9 | 0.324
20 | Lab2 | 0.036 | 9 | 0.324
21 | Lab3 | 0.036 | 9 | 0.324
22 | Lab4 | 0.036 | 9 | 0.324
23 | CSL clinical surgical lab | 0.036 | 9 | 0.324
24 | Corridor common place | 0.036 | 9 | 0.324

## level4
No | Space | Power (KW) | Op time | Power | total
1 | PASSAGEWAY | 3.73 | 9 | 33.57 | 208.971
2 | LIBRARY | 7.46 | 9 | 67.14
3 | LIBRARY
4 | IT LABORATORY 1 | 0.9 | 9 | 8.1
5 | IT LABORATORY 2 | 0.82 | 9 | 7.38
6 | IT LABORATORY 3 | 0.82 | 9 | 7.38
7 | MULTIMEDIA LABORATORY | 2.2 | 9 | 19.8
8 | OFFICE 2 | 0.14 | 9 | 1.26
9 | MEETING ROOM | 0.127 | 9 | 1.143
10 | LIBRARIAN 1 | 0.51 | 9 | 4.59
11 | LIBRARIAN 2 | 0.51 | 9 | 4.59
12 | LIFT LOBBY 1 | 0.14 | 9 | 1.26
13 | OFFICE 1 | 0.9 | 9 | 8.1
14 | DISCUSSION ROOM 1 | 0.75 | 9 | 6.75
15 | DISCUSSION ROOM 1 | 0.75 | 9 | 6.75
16 | DISCUSSION ROOM 1 | 0.75 | 9 | 6.75
17 | SERVER ROOM | 0.164 | 9 | 1.476
18 | SERVER ROOM | 2.44 | 9 | 21.96
19 | IT Lab | 0.036 | 9 | 0.324
20 | Library & Relax area | 0.036 | 9 | 0.324
21 | Corridor common place | 0.036 | 9 | 0.324

## level5
No | Space | Power (KW) | Op time | Power | Total
1 | MEETING ROOM | 0.9 | 9 | 8.1 | 199.458
2 | OFFICE | 0.9 | 9 | 8.1
3 | PANTRY
4 | PRINTING ROOM
5 | STRONG ROOM
6 | OFFICE LOBBY | 0.14 | 9 | 1.26
7 | GUEST RESTROOM | 0.15 | 9 | 1.35
8 | PROFESSOR ROOM | 0.127 | 9 | 1.143
9 | LIFT LOBBY 1 | 0.14 | 9 | 1.26
10 | OFFICE LOBBY 1 | 0.9 | 9 | 8.1
11 | PRAYER ROOM MALE
12 | PRAYER ROOM FEMALE
13 | DISCUSSION ROOM 1 | 0.75 | 9 | 6.75
14 | DISCUSSION ROOM 2 | 0.75 | 9 | 6.75
15 | DISCUSSION ROOM 3 | 0.75 | 9 | 6.75
16 | LIBRARY /READING | 0.57 | 9 | 5.13
17 | TUTOR /INSTRUCTOR 1 | 0.75 | 9 | 6.75
18 | TUTOR /INSTRUCTOR 2 | 0.75 | 9 | 6.75
19 | TUTOR /INSTRUCTOR 3 | 0.127 | 9 | 1.143
20 | TUTOR /INSTRUCTOR 4 | 0.127 | 9 | 1.143
21 | TUTOR /INSTRUCTOR 5 | 0.75 | 9 | 6.75
22 | LECTURER 15 | 0.75 | 9 | 6.75
23 | ASSOC.PROFESSOR 1 | 0.127 | 9 | 1.143
24 | ASSOC.PROFESSOR 2 | 0.127 | 9 | 1.143
25 | SENIOR LECTURER 1 | 0.75 | 9 | 6.75
26 | SENIOR LECTURER 2 | 0.75 | 9 | 6.75
27 | SENIOR LECTURER 3 | 0.75 | 9 | 6.75
28 | SENIOR LECTURER 4 | 0.75 | 9 | 6.75
29 | SENIOR LECTURER 5 | 0.75 | 9 | 6.75
30 | SENIOR LECTURER 6 | 0.75 | 9 | 6.75
31 | SENIOR LECTURER 7 | 0.75 | 9 | 6.75
32 | DISCUSSION ROOM 4 | 0.127 | 9 | 1.143
33 | LECTURER 3 | 0.51 | 9 | 4.59
34 | LECTURER 4 | 0.51 | 9 | 4.59
35 | LECTURER 5 | 0.51 | 9 | 4.59
36 | LECTURER 6 | 0.51 | 9 | 4.59
37 | LECTURER 7 | 0.51 | 9 | 4.59
38 | LECTURER 8 | 0.51 | 9 | 4.59
39 | LECTURER 9 | 0.51 | 9 | 4.59
40 | LECTURER 10 | 0.51 | 9 | 4.59
41 | LECTURER 11 | 0.51 | 9 | 4.59
42 | LECTURER 12 | 0.51 | 9 | 4.59
43 | LECTURER 13 | 0.51 | 9 | 4.59
44 | LECTURER 14 | 0.51 | 9 | 4.59
45 | PASSAGEWAY OFFICE | 0.9 | 9 | 8.1
46 | PASSAGEWAY OFFICE
47 | PASSAGEWAY OFFICE
48 | Admin | 0.036 | 9 | 0.324
49 | Office | 0.036 | 9 | 0.324
50 | Dean office Medic | 0.036 | 9 | 0.324
51 | Dean office Medic | 0.036 | 9 | 0.324
52 | Corridor common place | 0.036 | 9 | 0.324

## level6
NO | Space | Power (KW) | Op time | Power | Total
1 | MEETING ROOM | 0.9 | 9 | 8.1 | 208.035
2 | OFFICE AREA 2 | 0.14 | 9 | 1.26
3 | OFFICE LOBBY | 0.07 | 9 | 0.63
4 | OFFICE LOBBY | 0.14 | 9 | 1.26
5 | LIFT LOBBY 1 | 0.14 | 9 | 1.26
6 | DISCUSSION ROOM | 0.16 | 9 | 1.44
7 | STORE
8 | MEETING ROOM 2 | 0.15 | 9 | 1.35
9 | ASSOC.PROFESSOR | 0.127 | 9 | 1.143
10 | LECTURER 8 | 0.75 | 9 | 6.75
11 | LECTURER 7 | 0.75 | 9 | 6.75
12 | LECTURER 6 | 0.75 | 9 | 6.75
13 | LECTURER 5 | 0.75 | 9 | 6.75
14 | LECTURER 4 | 0.75 | 9 | 6.75
15 | LECTURER 3 | 0.75 | 9 | 6.75
16 | LECTURER 2 | 0.75 | 9 | 6.75
17 | LECTURER 1 | 0.75 | 9 | 6.75
18 | LECTURER 9 | 0.51 | 9 | 4.59
19 | LECTURER 10 | 0.51 | 9 | 4.59
20 | LECTURER 11 | 0.51 | 9 | 4.59
21 | LECTURER 12 | 0.51 | 9 | 4.59
22 | TUTOR / INSTRUCTOR 1 | 0.51 | 9 | 4.59
23 | TUTOR / INSTRUCTOR 2 | 0.51 | 9 | 4.59
24 | TUTOR / INSTRUCTOR 3 | 0.51 | 9 | 4.59
25 | LECTURER 19 | 0.51 | 9 | 4.59
26 | LECTURER 20 | 0.51 | 9 | 4.59
27 | DISCUSSION ROOM 2 | 0.75 | 9 | 6.75
28 | LECTURER 18 | 0.75 | 9 | 6.75
29 | LECTURER 16 | 0.75 | 9 | 6.75
30 | LECTURER 14 | 0.75 | 9 | 6.75
31 | LECTURER 13 | 0.75 | 9 | 6.75
32 | LECTURER 15 | 0.75 | 9 | 6.75
33 | LECTURER 17 | 0.75 | 9 | 6.75
34 | SENIOR LECTURER 1 | 0.75 | 9 | 6.75
35 | SENIOR LECTURER 2 | 0.75 | 9 | 6.75
36 | SENIOR LECTURER 3 | 0.75 | 9 | 6.75
37 | PASSAGEWAY OFFICE | 0.15 | 9 | 1.35
38 | PASSAGEWAY OFFICE
39 | PASSAGEWAY OFFICE
40 | PASSAGEWAY OFFICE
41 | PRAYER ROOM MALE | 1.47 | 9 | 13.23
42 | PRAYER ROOM FEMALE | 1.47 | 9 | 13.23
43 | Admin | 0.036 | 9 | 0.324
44 | Office | 0.036 | 9 | 0.324
45 | Corridor common place | 0.036 | 9 | 0.324

## level7
NO | Space | Power (KW) | Op time | Power | Total
1 | MEETING ROOM | 0.9 | 9 | 8.1 | 216.459
2 | OFFICE AREA 2 | 0.14 | 9 | 1.26
3 | OFFICE LOBBY | 0.07 | 9 | 0.63
4 | OFFICE AREA 1 | 0.14 | 9 | 1.26
5 | LIFT LOBBY 1 | 0.14 | 9 | 1.26
6 | DISCUSSION ROOM | 0.16 | 9 | 1.44
7 | STORE
8 | MEETING ROOM 2 | 0.15 | 9 | 1.35
9 | ASSOC PROFESSOR | 0.127 | 9 | 1.143
10 | LECTURER 8 | 0.75 | 9 | 6.75
11 | LECTURER 7 | 0.75 | 9 | 6.75
12 | LECTURER 6 | 0.75 | 9 | 6.75
13 | LECTURER 5 | 0.75 | 9 | 6.75
14 | LECTURER 4 | 0.75 | 9 | 6.75
15 | LECTURER 3 | 0.75 | 9 | 6.75
16 | LECTURER 2 | 0.75 | 9 | 6.75
17 | LECTURER 1 | 0.75 | 9 | 6.75
18 | LECTURER 9 | 0.51 | 9 | 4.59
19 | LECTURER 10 | 0.51 | 9 | 4.59
20 | LECTURER 11 | 0.51 | 9 | 4.59
21 | LECTURER 12 | 0.51 | 9 | 4.59
22 | TUTOR /INSTRUCTOR 1 | 0.51 | 9 | 4.59
23 | TUTOR /INSTRUCTOR 2 | 0.51 | 9 | 4.59
24 | TUTOR /INSTRUCTOR 3 | 0.51 | 9 | 4.59
25 | LECTURER 19 | 0.51 | 9 | 4.59
26 | LECTURER 20 | 0.51 | 9 | 4.59
27 | DISCUSSION ROOM | 0.75 | 9 | 6.75
28 | LECTURER 18 | 0.75 | 9 | 6.75
29 | LECTURER 16 | 0.75 | 9 | 6.75
30 | LECTURER 14 | 0.75 | 9 | 6.75
31 | LECTURER 13 | 0.75 | 9 | 6.75
32 | LECTURER 15 | 0.75 | 9 | 6.75
33 | LECTURER 17 | 0.75 | 9 | 6.75
34 | SENIOR LECTURER 1 | 0.75 | 9 | 6.75
35 | SENIOR LECTURER 2 | 0.75 | 9 | 6.75
36 | SENIOR LECTURER 3 | 0.75 | 9 | 6.75
37 | PASSAGEWAY OFFICE | 0.15 | 9 | 1.35
38 | PASSAGEWAY OFFICE | 1.43 | 9 | 12.87
39 | PASSAGEWAY OFFICE | 0.82 | 9 | 7.38
40 | PASSAGEWAY OFFICE | 0.12 | 9 | 1.08
41 | PRAYER ROOM MALE | 1.47 | 9 | 13.23
42 | PRAYER ROOM FEMALE
43 | Admin | 0.036 | 9 | 0.324
44 | Office | 0.036 | 9 | 0.324
45 | Exam department | 0.036 | 9 | 0.324
46 | Corridor common place | 0.036 | 9 | 0.324

## level8
NO | Space | Power (KW) | Op time | Power | Total
1 | MEETING ROOM | 0.9 | 9 | 8.1 | 217.512
2 | OFFICE AREA 2 | 0.14 | 9 | 1.26
3 | OFFICE LOBBY | 0.07 | 9 | 0.63
4 | OFFICE AREA 1 | 0.14 | 9 | 1.26
5 | LIFT LOBBY 1 | 0.14 | 9 | 1.26
6 | DISCUSSION ROOM | 0.16 | 9 | 1.44
7 | STORE | 0.16 | 9 | 1.44
8 | MEETING ROOM 2 | 0.15 | 9 | 1.35
9 | ASSOC PROFESSOR | 0.12 | 9 | 1.08
10 | LECTURER 1 | 0.75 | 9 | 6.75
11 | LECTURER 2 | 0.75 | 9 | 6.75
12 | LECTURER 3 | 0.75 | 9 | 6.75
13 | LECTURER 4 | 0.75 | 9 | 6.75
14 | LECTURER 5 | 0.75 | 9 | 6.75
15 | LECTURER 6 | 0.75 | 9 | 6.75
16 | LECTURER 7 | 0.75 | 9 | 6.75
17 | LECTURER 8 | 0.75 | 9 | 6.75
18 | LECTURER 9 | 0.51 | 9 | 4.59
19 | LECTURER 10 | 0.51 | 9 | 4.59
20 | LECTURER 11 | 0.51 | 9 | 4.59
21 | LECTURER 12 | 0.51 | 9 | 4.59
22 | TUTOR / INSTRUCTOR 1 | 0.51 | 9 | 4.59
23 | TUTOR / INSTRUCTOR 2 | 0.51 | 9 | 4.59
24 | TUTOR / INSTRUCTOR 3 | 0.51 | 9 | 4.59
25 | LECTURER 19 | 0.51 | 9 | 4.59
26 | LECTURER 20 | 0.51 | 9 | 4.59
27 | DISCUSSION ROOM 2 | 0.75 | 9 | 6.75
28 | LECTURER 13 | 0.75 | 9 | 6.75
29 | LECTURER 14 | 0.75 | 9 | 6.75
30 | LECTURER 15 | 0.75 | 9 | 6.75
31 | LECTURER 16 | 0.75 | 9 | 6.75
32 | LECTURER 17 | 0.75 | 9 | 6.75
33 | LECTURER 18 | 0.75 | 9 | 6.75
34 | SENIOR LECTURER 1 | 0.75 | 9 | 6.75
35 | SENIOR LECTURER 2 | 0.75 | 9 | 6.75
36 | SENIOR LECTURER 3 | 0.75 | 9 | 6.75
37 | PASSAGEWAY OFFICE | 0.15 | 9 | 1.35
38 | PASSAGEWAY OFFICE | 1.43 | 9 | 12.87
39 | PASSAGEWAY OFFICE | 0.82 | 9 | 7.38
40 | PASSAGEWAY OFFICE | 0.12 | 9 | 1.08
41 | PRAYER ROOM MALE | 1.47 | 9 | 13.23
42 | PRAYER ROOM FEMALE
43 | Admin | 0.036 | 9 | 0.324
44 | Office | 0.036 | 9 | 0.324
45 | Corridor common place | 0.036 | 9 | 0.324

## level9
NO | Space | Power (KW) | Op time | Power | Total
1 | MEETING ROOM | 0.9 | 9 | 8.1 | 220.356
2 | OFFICE AREA 2 | 0.16 | 9 | 1.44
3 | OFFICE LOBBY | 0.12 | 9 | 1.08
4 | OFFICE AREA 1 | 0.16 | 9 | 1.44
5 | LIFT LOBBY 1 | 0.15 | 9 | 1.35
6 | DISCUSSION ROOM 1 | 0.9 | 9 | 8.1
7 | STORE
8 | MEETING ROOM 2 | 0.55 | 9 | 4.95
9 | ASSOC PROFESSOR | 0.127 | 9 | 1.143
10 | LECTURER 1 | 0.75 | 9 | 6.75
11 | LECTURER 2 | 0.75 | 9 | 6.75
12 | LECTURER 3 | 0.75 | 9 | 6.75
13 | LECTURER 4 | 0.75 | 9 | 6.75
14 | LECTURER 5 | 0.75 | 9 | 6.75
15 | LECTURER 6 | 0.75 | 9 | 6.75
16 | LECTURER 7 | 0.75 | 9 | 6.75
17 | LECTURER 8 | 0.75 | 9 | 6.75
18 | LECTURER 9 | 0.75 | 9 | 6.75
19 | LECTURER 10 | 0.75 | 9 | 6.75
20 | LECTURER 11 | 0.75 | 9 | 6.75
21 | LECTURER 12 | 0.75 | 9 | 6.75
22 | TUTOR / INSTRUCTOR 1 | 0.75 | 9 | 6.75
23 | TUTOR / INSTRUCTOR 2 | 0.75 | 9 | 6.75
24 | TUTOR / INSTRUCTOR 3 | 0.51 | 9 | 4.59
25 | LECTURER 20 | 0.51 | 9 | 4.59
26 | LECTURER 19 | 0.51 | 9 | 4.59
27 | DISCUSSION ROOM 2 | 0.75 | 9 | 6.75
28 | LECTURER 18 | 0.75 | 9 | 6.75
29 | LECTURER 16 | 0.75 | 9 | 6.75
30 | LECTURER 14 | 0.75 | 9 | 6.75
31 | SENIOR LECTURER 3 | 0.127 | 9 | 1.143
32 | LECTURER 13 | 0.75 | 9 | 6.75
33 | LECTURER 15 | 0.75 | 9 | 6.75
34 | LECTURER 17 | 0.75 | 9 | 6.75
35 | PASSAGEWAY OFFICE | 0.15 | 9 | 1.35
36 | PASSAGEWAY OFFICE | 1.43 | 9 | 12.87
37 | PASSAGEWAY OFFICE | 0.82 | 9 | 7.38
38 | PRAYERS ROOM MALE | 1.43 | 9 | 12.87
39 | PRAYERS ROOM MALE
40 | Admin | 0.036 | 9 | 0.324
41 | Office | 0.036 | 9 | 0.324
42 | Dean office Pharmacy | 0.036 | 9 | 0.324
43 | Dean office Pharmacy | 0.036 | 9 | 0.324
44 | Corridor common place | 0.036 | 9 | 0.324

## level10
NO | Space | Power (KW) | Op time | Power | Total
1 | room | 0.036 | 9 | 0.324 | 3.24
2 | room | 0.036 | 9 | 0.324
3 | room | 0.036 | 9 | 0.324
4 | room | 0.036 | 9 | 0.324
5 | room | 0.036 | 9 | 0.324
6 | room | 0.036 | 9 | 0.324
7 | room | 0.036 | 9 | 0.324
8 | room | 0.036 | 9 | 0.324
9 | room | 0.036 | 9 | 0.324
10 | room | 0.036 | 9 | 0.324